k|fljlws lzIff tyf Jofj;flos tfnLd kl/ifb\

lghL :t/df /]lkm|h]/]zg h'gLo/ 6]lSg;Log txsf] tfnLd sfo{qmd ;~rfngsf] nflu cfjZos

k"jf{wf/x?sf] lgb]{lzsf

@)%&

lghL :t/df /]lkm\h]/]zg h'gLo/ 6]lSg;Log txsf] tfnLd ;~rfngsf] :jLs[ltsf] nflu

cfjZos k"jf{wf/x?sf] lgb]{lzsf

tof/ kfg]{M

;+of]hs 	>L Zofd ;'Gb/ >]i7,	d]sflgsn OlGhgLo/, g]kfn oftfoft ;+:yfg.

;b:o 	>L ;fu/dl0f nD;fn,	kf7\oqm clws[t, k|f=lz=tyf Jof=tf=kl/ifb\ .

Æ 	>L clgn cfrfo{	g]=b'/;+rf/ ;= .

Æ	>L pQd 9'Ë]n,	jl/i7 pkfWoIf, lghL k|fljlws lzIffno dxf;+3 .

Æ	>L s]zj k|=l3ld/],	kf7\oqm clws[t

Æ	>L sdnafj' clwsf/L,	:t/ lgwf{/0f clws[t, k|f=lz=tyf Jof=tf=kl/ifb\ .

Æ	>L lbjfs/ /fh kGt	k|fljlws clws[t, k|f=lz=tyf Jof=tf=kl/ifb\ .

Æ	>L o'j/fh bfxfn	k'Nrf]s SofDk; .

Æ	>L z+s/ /fh kGt	k|fWofks, lq=lj=, lstL{k'/ .

;b:o–;lrj	>L /dfsfGt sfkmn],	:t/ lgwf{/0f clws[t, k|f=lz=tyf Jof=tf=kl/ifb\ .

;xof]uLM 	k'0f{ eQm 8+uf]n,

k|zf;sLo ;xfos, :t/ lgwf{/0f dxfzfvf .

sDKo"6/ n]–cfp6M 	>L d's]z cfrfo{

sDKo"6/ ck|]6/, :t/ lgwf{/0f dxfzfvf,

k|f=lz=tyf Jof=tf=kl/ifb\ .

k|fljlws lzIff tyf Jofj;flos tfnLd kl/ifb\ lgodfjnL @)%! sf] lgod !&, !*, !( / @$ df Joj:yf eP cg';f/ lghL :t/df /]lkm|h]/]zg P08 Po/ sl08;lgË h'gLo/ 6]lSg;Log txsf] tfnLd sfo{qmd ;~rfng ug]{ ;+:yfx?n] k"/f ug'{ kg]{ k"jf{wf/ ;DjGwL lgb]{lzsfM

k|fljlws lzIff tyf Jofj;flos tfnLd kl/ifb\af6 ;DaGwg :jLs[lt lnO{ lghL:t/df k|fljlws lzIff cGtu{t k|fljlws P;=Pn=;L= txsf] tfnLd sfo{qmd ;~rfng ug]{ qmddf gof+ v'Ng] k|fljlws lzIffnon] lgDgfg';f/sf] Joj:yf u/L lzIffno ;~rfng ug'{ kg]{ x'G5 lsgeg] o;f] u/]df tfnLd sfo{qmd k|efjsf/L eO{ k|lzIffyL{x?n] a9L kmfObf lng ;S5g o:t} clw/fHoe/df ;~rfng x'g] tfnLd sfo{qmddf Ps ?ktf cfpF5 . t;y{, o; txdf pTkfbg ul/g] c6f]–d]sflgs h'gLo/ 6]lSg;Log ljifosf k|lzIffyL{sf lglDt lgwf{l/t ljifoj:t'x? k|bfg u/L lzIf0f ug'{ kg]{ Joj:yf eP cg'?k, z}lIfs b[li6n] k9g' kg]{ ljleGg ljifox?, lk/Lo8 ;+Vof, lzIf0f ubf{ Pp6f sIffdf /xg' kg]{ k|lzIffyL{x?sf] ;+Vof, k|lzIfssf] Joj:yf, lzIffnosf] ef}lts k"jf{wf/ / z}lIfs ;fdu|L, pks/0fx?sf] Joj:yf cGtu{t lgDgfg';f/sf] Joj:yf u/L lzIf0f ug'{ kg]{ b]lvG5 . t;y{, lgb]{lzsf tof/ ug{ ul7t ;ldltn] tfnLdsf nflu pko'{Qm x'g] u/L] lbOPsf] Go"gtd k"jf{wf/ lgDglnlvt cg';f/ ePsf]n] tfnLd sfo{qmd ;~rfng ug{ rfxg] lzIffnox?n] ;f]xL adf]lhd k"jf{wf/ tof/ ug{ o; kl/ifb\af6 lgb]{z ul/Psf] 5 .

!=	;+:yf cfj]bg / :jLs[lt k|lqmofM

-s_ lgj]bg k|fKt ug]{ k|lqmof, 9f+rf / z'NsM k|fljlws lzIff tyf Jofj;flos tfnLd kl/ifb\n] lghL :t/df ;+:yf vf]nL tfnLd sfo{qmd ;~rfng ug{ OR5's ;+3÷;+:yfx?nfO{ cfj]bgsf] nflu /fli6«o klqsf dfkm{t cfXjfg ub{5 . kl/ifb\;+u ;DaGwg :jLs[ltsf] nflu lgj]bg lbFbf kl/ifb\n] tf]s]sf] 9fFrfsf] cfj]bg kmf/fd :t/ lgwf{/0f dxfzfvfaf6 lgwf{l/t z'Ns a'emfPsf] a}Í ef}r/ ;+nUg u/L lng' kg]{5 .

-v_ k|:tfjgf / cfjZos sfuhftM kl/ifb\;+u ;DaGwg :jLs[lt lng, tfnLd sfo{qmd ;~rfng ;DaGwL lj:t[t k|:tfjgf / cfjZos sfuhft ;lxt kl/ifb\df cfj]bg k]z ug'{ kg]{5 . k|:tfjgfdf b]xfosf laifox?df lj:t[t ljj/0f pNn]v x'g' kg]{5 .

- tfnLd sfo{qmd ;~rfng ;DaGwL p2]Zo .

- nlIft ;d"x .

- egf{ Ifdtf .

- kf7\oqmd .

- k"jf{wf/ ;DaGwL Joj:yf .

- k|lzIfs÷sd{rf/L ;DaGwL Joj:yf .

- sfo{qmd ;~rfngsf nflu u/Lg] nufgL / To;sf] cfo Joosf] cfly{s kIfsf]  of]hgf .

- ;+:yf /xg] uf=lj=;=÷g=kf=÷lh=lj=;=sf] l;kmfl/; .

- ljifog';f/ ljefuLo ;xdlt .

- k|of]ufTds tfnLdsf] nflu k|:tfljt lgsfosf] ;xdlt .

- ;~rfns ;ldltsf] ljj/0f .

- cflb sfuhft ;d]t clgjfo{ ?kdf k]z ug'{ kg]{5 .

-u_ ;+:yf ;DaGwg z'Ns, w/f}6L cflbM

;DaGwg lbg] sfo{sf nflu tfnLd sfo{qmd ;~rfng ug]{ ;+:yfn] b]xfo cg';f/sf /sdx? a'emfpg' kg]{5 .

- tfnLd s]Gb| ;DaGwg :jLs[ltsf] qmddf kl/ifb\af6 ul/g] ;DefJotf cWoogsf nflu kl/ifb\4f/f lgwf{l/t /sd ;DefJotf cWoog x'g' eGbf klxnf kl/ifb\ sfof{nodf a'emfpg' kg]{5 .

- k"jf{wf/ lg/LIf0f jfkt kl/ifb\n] tf]s] adf]lhdsf] z'Ns, k"jf{wf/ tof/L u/]sf] hfgsf/L lbP kl5 k"jf{wf/ lg/LIf0f 6f]nL lg/LIf0f ug'{ hfg' eGbf klxnf kl/ifb\ sfof{nodf a'emfpg' kg]{5 .

- ;+:yf :jLs[lt ln+bf ;+:yf btf{ z'Ns jfkt ?= !),))).— -bz xhf/_ nfUg] 5 .

- w/f}6L afkt ?= %),))).— -krf; xhf/_ gub / ?= !,%),))).— -Psnfv krf; xhf/_ gub jf cGo hfo, h]yf w/f}6L jfkt kl/ifb\ sfof{nodf hDdf ug'{ kg]{5 . of] w/f}6L tfnLd sfo{qmd ;~rfng ug{ 5f]8]df lkmtf{ ul/g] 5 .

pNn]lvt ;DaGwg z'Ns / w/f}6L ;DaGwdf cGo Joj:yf ePdf kl/ifb\sf] lgodfg';f/ ul/g] 5 .

-3_ ;DaGwg :jLs[lt k|lqmofM ;+:yf ;DaGwgsf] nflu kg{ cfPsf cfjb]gx?sf] k|lqmofut ?kdf k|:tfjgf d"NofÍg, :ynut ;DefJotf cWoog / k"jf{wf/ lg/LIf0f u/L ;f] sf] d"NofÍgnfO{ cfwf/dfgL kl/ifb\n] ;+:yfnfO{ ;DaGwg :jLs[lt k|bfg ug]{5 . olb s'g} ;+:yf d"NofÍgdf pko'Qm gb]lvPdf kl/ifb\n] To:tf ;+:yfnfO{ ;DaGwg :jLs[lt lbg] 5}g .

@= 	k|lzIffyL{ egf{ ;DaGwLM k|lzIffyL{ egf{ ;DaGwL cfjZos Go"gtd of]Uotf / ljlw, kf7\oqmddf pNn]v eP jdf]lhd x'g' kb{5 . o; ;DaGwdf k|f=lz=tyf Jof=tf=kl/ifb\sf] ljlgod cg';f/ u7g x'g] k/LIff pk—;ldltn] lbPsf] lgb]{zg cg';f/ k|lzIffyL{sf] 5gf]6, sIff ;~rfng / k|lzIffyL{sf] d"NofÍg ul/g] 5 .

;+:yf ;DaGwg :jLs[lt k|of]hgsf] nflu o; sfo{qmddf Pp6f ;]S;gdf k|lzIffyL{ ;+Vof $)  -rfnL;_ eGbf j9L egf{ ug{ kfOg] 5}g .

o;/L egf{ ug]{ Joj:yf eP klg k|of]ufTds / ;}4flGts sIffx?df laBfyL{ ;+Vof b]xfo adf]lhd dfq /fVg ;lsg]5

- Ps ;d"xdf $) -rfnL;_ hgf k|lzIffyL{x? /fvL ;}4flGts sIff ;~rfng ug]{ .

- Ps ;d"xdf a9Ldf @) hgf;Ddsf] dfq k|of]ufTds sIff ;~rfng ug{' kg]{5 .

t/ Ps z}lIfs zqdf @ j6f eGbf a9L ;d'x /fVg kfOg] 5}g .

#= 	kf7\oqmdM k|fljlws lzIff tyf Jofj;flos tfnLd kl/ifb\n] :jLs[t u/]sf] c6f] d]sflgs h'gLo/ 6]lSg;Logsf] @ jif]{ kf7\oqmd nfu" ug'{ kg]{5 . kf7\oqmddf pNn]v ul/Psf] ;+/rgf / :jefj cg';f/ ;}4flGts tyf k|of]ufTds k|lzIf0f ;~rfng ug'{ kg]{5 . k|f=lz=tyf Jof=tf=kl/ifb\n] kf7\oqmd kl/dfh{g u/L To;sf] hfgsf/L lbPkl5 kl/dflh{t kf7\oqmd dfq nfu" ug'{ kg]{5 . ;fy} kl/ifb\n] kf7\oqmd ;DaGwdf u/]sf lgb]{zgx? k"0f{?kdf cjnDag ug'{ kg]{5 .

sfo{qmdsf] tfnLd cjlw, k|lzIffyL{sf] d"NofÍg, ;l6{lkms]zg, OG6«Ll/Sjfo/d]06, 6fOd 6]an / Pattern of attendance kf7\oqmddf pNn]v eP adf]lhd x'g' kg]{5 .

$=	z'Ns tyf cfly{s kIfM -s_ ljBfyL{;+u lnOg] cWofkg z'Nssf] ljj/0f / z'Ns p7fpg] ;DjGwL Joj:yf k|:tfjgfdf k]z ug'{ kg]{5 . jflif{s cfwf/df z'Ns a9fpg] / cGo s'g} t/Lsfjf6 z'Ns a9fpg] Joj:yf ug'{ kg]{ eP ;f] ;DaGwL hfgsf/L z'?df g} k|:tfjgfdf pNn]v ug'{ kg]{5 . oL ;a} s'/fsf] hfgsf/L egf{sf] nflu ul/g] ;"rgf cyjf k|:tfjgfdf pNn]v ug'{ kg]{5 .

-v_ a'bf g+= -s_ df pNn]v ePsf] eGbf leGg ?kdf z'Ns a9fpg kfOg] 5}g .

-u_ z'Ns ;DaGwL cGo sfo{sf] nflu k|f=lz=tyf Jof=tf=kl/ifb\sf] k"j{ :jLs[lt lng' kg]{5 .

-3_ ;DaGwg k|fKt ug{ rfxg] z}lIfs ;+:yf cfly{s ?kdf ;Ifd / ljZjfl;nf] x'g' kg]{5 .

%=	cfjZos ef}lts k"jf{wf/x?M o; lgb]{lzsfdf pNn]v ePsf] k"jf{wf/x?sf] ;"rL Ps ;d"x -$) hgf k|lzIffyL{_ sf] nflu tof/ ul/Psf] 5 .

-s_ 3/÷hUufM ;+:yf vf]Ngsf] nflu,

- sd;]sd %))) ju{lkm6 If]qkmn hldg ePsf] :yfgdf sl/j !) sf]7f ePsf] ejgsf] Joj:yf x'g' kg]{ . ;+:yfsf] cfkmg} 3/ hUuf gePdf slDtdf Ps Aofr lgsfNg nfUg] cjlwsf] nflu ef8fdf jf lnhdf lnPsf] ;Demf}tf kq k]z ug'{ kg]{5 .

- v]ns"bsf lglDt cltl/Qm *))) ju{lkm6 hldgsf] Joj:yf x'g' kg]{ .

- o; cltl/Qm %))) ju{lkm6 ePsf] hdLg ePdf 5fqfjf;sf] Joj:yf x'g ;S5 .

- lzIffnosf] :yfg PsfGt, :jR5 jftfj/0f / ;se/ d"n;8s glhs x'g' x'b}g .

-v_ sIff sf]7fx?M tfnLdsf] nflu ;}4flGts sIff sf]7f, k|of]ufTds sIff sf]7f / sfo{zfnfsf] Joj:yf x'g' kg]{5 .

;}4flGts sIff sf]7f $) hgf k|lzIffyL{sf] nflu kof{Kt x'g' kg]{5 .

k|of]ufTds sfo{zfnf @) hgf k|lzIffyL{sf] nflu kof{Kt x'g' kg]{5 . kf7\oqmddf pNn]v eP cg';f/ o; tfnLd sfo{qmdsf] nflu lgDgfg';f/sf] sIff sf]7fsf] Joj:yf x'g' kg]{5 .

| qm=;= | ljj/0f | sf]7fsf] Go"gtd If]qkmn -ju{lkm6_ | sf]7f ;+Vof |
| --- | --- | --- | --- |
|  | ;}4flGts sIff sf]7f | 480 (12'X40') | @ |
|  | 8«Oª sf]7f | 600 (15'X40') | ! |
|  | j]lzs d]sflgsn sfo{zfnf | 600 (15'X40') | ! |
|  | RAC sfo{zfnf | 600 (15'X40') | ! |
|  | System sfo{zfnf | 600 (15'X40') | ! |
|  | k':tsfno | 360(12'X30') | ! |

-u_ sfof{no k|of]hgsf] nflu sf]7fx?M k|d'vsf] nflu sf]7f, k|lzIfs sf]7f / n]vf÷k|zf;lgs sd{rf/Lx?sf] ;+Vofsf] cfwf/df cfjZos sf]7fx?sf] Joj:yf x'g' kg]{5 . o;sf cltl/Qm :6f]/ sf]7f, First Aid sf]7f / ;Dej eP ;Dd OG8f]/ v]ns'b sf]7f, / SoflG6g ;d]t pknAw u/fpg' kg]{5 .

-3_ ;DalGwt ;+:yf leq} ;fdfGo ;fwgso'Qm zf}rfnosf] Joj:yf x'g' kg]{5 .

-ª_ 5fqfjf;sf] Joj:yfM ;DalGwt ;+:yfn] 5fqfjf;sf] klg Joj:yf ug]{ ePdf lgDgfg';f/ Joj:yf x'g' kg]{ .

- sf]7fdf k|lzIffyL{sf] ;+Vofsf] cfwf/df a]8 / 6]a'n x'g' kg]{ .

- k|lzIffyL{sf] ;+Vofsf] cfwf/df zf}rfno, :gfg sf]7f, efG5f3/sf] Joj:yf x'g' kg]{ .

- xf]:6]n jf8]{g a:g] sf]7fsf] Joj:yf x'g' kg]{ .

- xf]:6]ndf sdg / Recreation sIf x'g' kg]{ .

- Visitor Room / Reading Room sf] Joj:yf x'g' kg]{ .

-r_ v]ns'b d}bfg / ;fdu|Lx?M zfl//Ls tyf dfgl;s ljsf;sf] nflu v]ns'b cfjZos kg]{ x'gfn] cfjZos v]ns"b d}bfg / v]ns"b ;fdu|Lx?sf] oy]i6 ?kdf Joj:yf x'g' kg]{5 .

-5_ k':tsfnosf] Joj:yfM ;+:yfdf cWoog u/fOg] ljifox?;+u ;DalGwt kf7\ok':tsx? / >f]t ;Gbe{ k':tsx?sf] kof{Kt Joj:yf x'g' kg]{5 . kf7\ok':tssf ;fy} ljifo;+u ;DalGwt 1fg, lj1fgsf kqklqsfx?, a'n]l6gx?, k|lzIfssf nflu Reference Books, Teachers Mannual / ljBfyL{x?sf nflu lgb]{lzsfx?sf] kof{Kt Joj:yf x'g' kg]{5 .

nfOa]|/Ldf rflxg] 6]a'n, b/fh, k9g] 7fpFsf] Joj:yf ePs]f x'g' kg]{5 . ;Gbe{ ;fdu|Lx? cg';"rL –! df lbOPsf] 5 .

^=	kmlg{r/ / sfof{no ;fdfgsf] Joj:yfM lzIf0f tyf cGo sfof{no k|of]hgsf] nflu tfnLd ;+:yfdf lgDgfg';f/sf] kmlg{r/ / sfof{no ;fdfgsf] pko'Qm Joj:yf x'g' kg]{5 .

-s_ ljBfyL{x?sf] c'gkftdf ;a}nfO{ j:g k'Ug] u/L s';L{÷a]Gr, 8]S;sf] Joj:yf x'g' kg]{ . 8«Oª sIffdf 8«Oª 6]a'n, jf]8{ / :6'nsf] Joj:yf x'g' kg]{5 .

-v_ sfo{zfnfsf] nflu cfjZos kg]{ k|of]uzfnf 6]a'n, s';L{, ¥ofs / b/fhx?sf] Joj:yf x'g'  kg]{5 .

-u_ lzIfs sd{rf/Lx?sf] nflu cfjZos 6]a'n, s';L{, b/fh, ¥ofssf] cfjZos Joj:yf x'g' kg]{5 .

-3_ sfof{no k|of]hgsf] nflu 6fOk/fO6/ jf sDKo'6/, lnyf]d]l;g÷kmf]6f]skL d]l;g, cf]e/x]8 k|f]h]S6/, l6=le=÷le=l;=cf/=÷:nfO8 k|f]h]S6/ cflbsf] pko'Qm Joj:yf u/]df pko'Qm x'g]5 .

-ª_ sfof{no k|of]hgsf] nflu oy]i6 dfqfdf :6]zg/L cflb Joj:yf x'g' kg]{5 .

&=	k|lzIfs÷sd{rf/Lsf] Joj:yfM tfnLd sfo{qmdnfO{ :t/Lo / u'0f:t/ sfod ug{ ;+:yfnfO{ cfjZos kg]{ k|frfo{÷k|lzIfs÷sd{rf/Lsf] Joj:yf b]xfo cg'?k x'g' kg]{5 .

-s_ Ps lbgdf & lk/Lo8sf] sIff ;~rfng ug'{ kg]{ / k|To]s lk/Lo8 %) ldg]6sf] x'g' kg]{5 .

-v_ ljBfyL{ lzIfs cg'kft b]xfo cg';f/ x'g' kg]{5 .

;}4flGts sIff 	$)M !

8«Oª		@)M!

k|of]ufTds	%—!)M!

-u_ ;+:yfsf] nflu k|lzIfs —@, ;xfos k|lzIfs —# x'g' kg]{5 . pNn]lvt k|lzIf0f tkm{sf sd{rf/Lx?df sDtLdf %)% k"0f{sfnLg x'g' kg]{5 .

-3_ ;+:yfsf] nflu cfjZos k|frfo{ -k|d'v_ k"0f{sfnLg ;]jfsf] x'g' kg]{ / To:tf] JolQmx? cGo ;+:yfdf sfo{/t gePsf] x'g' kg]{5 .

-ª_ k|zf;lgs sd{rf/L tkm{ n]vf÷k|zf;g ;xfos, 6fOlki6, nfOj]|/Log, :6f]/lsk/, lkog / rf}lsbf/x?sf] Joj:yf x'g kg]{5 . ;+:yfdf sfo{./t k|lzIfs÷sd{rf/Lx?sf] of]Uotf, tna, eQf cflb Go"gtd k|f=lz=tyf Jof=tf=kl/ifb\sf] sd{rf/L ;]jf, zt{, lgodfjnLdf pNn]lvt ;/x x'g' kg]{5 . of]Uotf cg';"rL –@ df pNn]v eP cg';f/ x'g' kg]{5 .

*=	z}lIfs ;fdu|L  tyf pks/0fx?sf] Joj:yfM kf7\oqmddf ;dfj]z ePsf ljifox?sf] k|of]ufTds sIffsf] nflu ;fdu|L, cf}hf/ / pks/0fx?sf] cfjZos Joj:yf x'g' kg]{5 . tkl;ndf pNn]lvt pks/0f, cf}hf/x? $) hgf k|lzIffyL{x?sf] nflu cg'dfg ul/Psf] 5 . cf}hf/ tyf pks/0fx?sf] lni6 ljifo cg';f/ agfOPsf] 5, t;y{ vl/b ubf{ clwstd rflxg] lx;fjn] k|yd jif{ / l¢tLo jif{sf] @ -b'O{_ ;d"xsf] nflu k'Ug] u/L Joj:yf x'g' kg]{5 .

z}lIfs ;fdu|Lx?sf] ;"rL jgfOPsf] 5}g, tL ;fdfu|Lx? tfnLd ;~rfngsf] nflu oy]i6 x'g] u/L tfnLd cjlwdf  qmlds ?kdf Joj:yf ug'{ kg]{5 .

1.	Consumables materials:

| S.N. | ITEMS | Unit | Quantity | Remarks |
| --- | --- | --- | --- | --- |
|  | Refrigerant | kg | 100 |  |
|  | Lbrication oil | ltr |  | as required |
|  | Kerosene oil | ltr |  | as required |
|  | Solder | kg |  | as required |
|  | Soldering flux | pkt |  | as required |
|  | Insulting tape | rolls |  | as required |
|  | Epoxy resine | tube | 16 | as required |
|  | Welding rods | kg |  | as required |
|  | Nails & fasterers | kg | 20 | as required |

ii. Refrigeration and air-conditioning mechanic tools kit:

| S.N. | ITEMS | Specification | required |
| --- | --- | --- | --- |
| # Screw driver set |  |  |  |
|  | Phillips | 3x60 to 8x150 (blade size in mm) | 10sets |
|  | Slot head | 3x60 to 8x150 (blade size in mm) |  |
|  | Impact phillips | 3x60 to 8x150 (blade size in mm) |  |
|  | Impact slot heat |  |  |
| Wreches/spanners |  |  |  |
|  | Socket wrench & ratchet | 6x7 to 30x32 mm | 10sets |
|  | open end spanners | 6x7 to 30x32 mm |  |
|  | Ring or box end spanners | 6x7 to 30x32 mm |  |
|  | Adjustable wrench | 200mm |  |
|  | Pipe wrench | 300mm |  |
|  | Allen key | 2to10mm |  |
| ## Pillers |  |  |  |
|  | Combination | 175mm | 10sets |
|  | NOse and long nose | 160mm |  |
|  | Side cutter | 100mm |  |
|  | Slip joint | 150mm |  |
|  | LOcking | 250mm |  |
| ## Hammer |  |  |  |
|  | Ball pen | 200,400,600,1000gm | 10sets |
|  | Mallet | 500gm |  |
|  | Carpenters claw | 500gm |  |
|  | Chisel | 150,200mm | 10sets |
|  | Files |  | 10sets |
|  | Flat | 300mm |  |
|  | Round | 200mm |  |
|  | Half round | 200mm |  |
|  | Traingular | 200mm |  |
|  | Square | 200mm |  |
|  | Hacksaw | 300mm | 8sets |
| Drill bit (different size) |  |  |  |
|  | Metal |  | 5sets |
|  | Cement |  |  |
| ### Snip |  |  |  |
|  | Straight | 1-12mm | 10 sets |
|  | Bent | 300mm | 2 sets |
|  | Tap & die set | 300mm | 10sets |
|  | PIpe threading die | m4 to m20 | 5sets |
|  | Portable hand drill | 12mm to 75 mm | 1sets |
|  | Drilling machine | 12mm, 500w | 10sets |
|  | Knife | 15mm, 1000 w | 5sets |
|  | Torque wrench |  | 2sets |
|  | Arc welding machine with accessories | 1-7kg-m | 2set |
|  | Gas welding set with accessories | 200amp | 2set |
|  | Flare nut wrench |  | 2set |
|  | Cripming tool |  | 10sets |
|  | Wire striper |  | 10sets |
|  | Inspection mirror |  | 10sets |
|  | Swaging tool set | 6mm to 30mm | 10sets |
|  | Tube cutter | 3mm to 30mm | 10sets |
|  | Inner & outer reamer | 6mm to 30mm 6mm tp 30mm | 10sets |
|  | Flaring tool | 6mm to 30mm | 10sets |
|  | Tube bender | 3mm to 30mm | 10sets |
|  | Tube brushes drive from drill |  | 10sets |

iii. Refrigeration and air-conditioning mechanic tools kit:

| S.N. | ITEMS | Specification | required |
| --- | --- | --- | --- |
|  | Gage manifold |  | 10 sets |
|  | Charging cylinder | 13.7 kg R-12 capacity | 10 sets |
|  | Halide leak detectro |  | 10 sets |
|  | Electronic leak detector |  | 10 sets |
|  | Mercury bulb thermometer | 200 c to 1000 c | 10 sets |
|  | Dial indicator thermometer | 500 c to 1500 c | 10 sets |
|  | Electronic digital thermometer | 500 c to 1500 c | 10 sets |
|  | REmote bulb thermometer | 200 c to 1000 c | 10 sets |
|  | Fin straightners |  | 10 sets |
|  | Heat guns (hair dryers) |  | 10 sets |
|  | Hermetic tubing piercing valves |  | 10 sets |
|  | Compressor oil charging pump Pefrigerant charing station Vaccum pump charging cylinder Manifold gage lines |  | 5 sets |
|  | Sling psychrometer |  | 10 sets |
|  | Air velocity measuring instrument (anemometer) |  | 10 sets |
|  | Air balancing meter |  | 10 sets |
|  | Multimeter |  | 10 sets |
|  | Clamp on meter |  | 10 sets |
|  | U-tube mercury manometer |  | 10 sets |
|  | Electronic vaccum gage |  | 10 sets |
|  | Belt tension gage |  | 10 sets |
|  | Electronic charing scale |  | 5sets |
|  | Refrigerant recovery station |  | 2 sets |

iv. Measuring tools and gauges:

| S.N. | ITEMS | Specification | required |
| --- | --- | --- | --- |
|  | Outside micrometer | 25-50 mm | 5 |
|  | Outside micrometer | 125-150mm | 5 |
|  | Venier caliper | 6" | 5 |
|  | Cylinder bore gauge | 7-10mm | 2 |
|  | Cylinder bore gauge | 50-150mm | 1 |
|  | Dial gauge | 0.001mm | 5 |
|  | Magnetic base with universal stand |  | 5 |
|  | V-block |  | 5 |
|  | Screw pitch gauge | metric thred | 5 |
|  | Tachometer |  | 5 |
|  | Steel ruler | 12" | 10 |
|  | Measuring tape | 5m, 25m | 10 |

v. Electrical spare parts:

| S.N. | ITEMS | Specification | required |
| --- | --- | --- | --- |
|  | Thermostat |  | 10 sets |
|  | Pressure switch |  | 10 sets |
|  | Solenoid valve |  | 10 sets |
|  | Fan motor |  | 10 sets |
|  | Compressor motor |  | 10 sets |
|  | Current relay |  | 10 sets |
|  | Potential relay |  | 10 sets |
|  | Defrost limiter thermostat |  | 10 sets |
|  | Defrost cycle timer |  | 10 sets |
|  | Defrost heater |  | 10 sets |
|  | Drain heater |  | 10 sets |
|  | Bulb |  | 10 sets |
|  | Door switch |  | 10 sets |
|  | Saver switch |  | 10 sets |
|  | Condenser water pump |  | 10 sets |
|  | AC heating element |  | 10 sets |
|  | AC selector switch AC fan unit |  | 10 sets |
|  | Ac fan unit |  | 10 sets |
|  | PLC | 8 input, 8 output | 1 set |
|  | Electronic components |  | 1 set |

vi. Mechanical spare parts:

| S.N. | ITEMS | Specification | required |
| --- | --- | --- | --- |
|  | Grills | 8 sets | 10 sets |
|  | Grill fasteners | 8 sets |  |
|  | Air filter | 8 sets |  |
|  | Silica gel | 8 kg |  |
|  | Condenser | 8 sets |  |
|  | Compressor | 8 sets |  |
|  | Evaporator | 8 sets |  |
|  | Filter drier | 8 sets |  |
|  | Suction line filter | 8 sets |  |
|  | Flaring nuts and couplings | 8 sets |  |
|  | Accumulators | 8 sets |  |
|  | Liquid receiver | 8 sets |  |
|  | Oil pressue gauge | 8 sets |  |
|  | Cpailliary tube | 40ft |  |
|  | Thermostatic expansion valve | 8 sets |  |
|  | Automatic expansion valve | 8 sets |  |
|  | Foam rubber strip | 100 ft |  |
|  | Thrmocoal | 100 sq. ft |  |
|  | Fiberglass insulator | 20 kg |  |
|  | Coper tube | 8ft |  |
|  | Fastener screws | 10sets |  |
|  | Duct pipes | 10sets |  |

vii. Refrigeration and air conditioning equipment:

| S.N. | ITEMS | Specification | required |
| --- | --- | --- | --- |
|  | Domestic refrigerator | 120-200 ltr (two of them having auto defrost system) | 4 |
|  | Freezer | 200 ltr | 2 |
|  | Window air conditioner | 1 ton | 2 |
|  | Split air conditioner | 2 ton | 1 |
|  | Commercial ice maker | 1 ton | 1 |
|  | Water cooler | 300ltr | 1 |
|  | Boiler with accessories | 600 kg/hr, 10kg/sq cm | 1 |
|  | Gas heating furnace with accessories |  | 1 |
|  | OIl heating furnace with accessories |  | 1 |
|  | Accessories of central air conditioning and refrieration plant (cooling tower, air handling unit etc.) |  | 1 sets |

;fy} dl§t]n, k]6«f]n, n'lj|s]G6, lu|h, Cotton, waste cloth, soap, defergent, peplacable items eg. repair kit, fitters, battery acid, gaskets, seats etc kof{Kt kl/0ffddf Joj:yf ug'{ kg]{5 .

!)=	lkmN8 cEof;sf] nflu :yfg / k|lzIfssf] Joj:yfM

tfnLd sfo{qmd;+u ;DalGwt k|of]ufTds tfnLdsf] nflu :yfg tyf ;DalGwt lgsfox?sf] ;]jf d"ns ;+:yfx?sf] 5gf]6 ubf{ k|lzIffyL{nfO{ kof{Kt 1fg / ;Lk cfh{g ug{ ;Sg] cj;/ k|fKt x'g] ;+:yfx?nfO{ k|fyldstf lbg' kg]{ / sfo{ut tfnLdsf] xsdf To:tf lgsfox?sf] 5gf]6 u/L clu|d kl/ifb\nfO{ hfgsf/L lbg' kg]{5 . tL :yfgx?df k|lzIffyL{x?nfO{ k|of]ufTds÷sfo{ut tfnLdsf] nflu k7fpFbf ;fydf ;DalGwt ljifosf k|lzIfsx? clgjfo{ ?kdf Joj:yf ug'{ kg]{5 .

!!=	;~rfns ;ldltsf] u7gM

;+:yf ;~rfngsf] nflu Ps ;~rfns ;ldlt u7g ug'{ kg]{5 . ;~rfns ;ldltsf ;b:ox? dWo] slDtdf $)% ;b:o ;DalGwt ljifosf] lj1 x'g' kg]{5 . ;~rfns ;ldltdf kl/ifb\sf] k|ltlglw kb]g ;b:o / cGo :yfgLo lgsfosf] k|ltlglw, lzIff ljb\, lhNnf lzIff sfof{nosf] k|ltlglw / cGo ;fdflhs sfo{stf{ cflb ;dfj]z ePsf] x'g' kg]{5 .

!@=	jLdf tyf ;'/Iffsf] Joj:yfM

;+:yfn] ;+:yfdf sfo{/t k|lzIfs, ljBfyL{ tyf sd{rf/Lx?sf] jLdfsf] Joj:yf u/]df pko'Qm  x'g]5 . t/ k|of]uzfnfdf k|flS6sn ubf{ cfjZos kg]{ ;'/Iffsf ;fdfgx?sf] eg] clgjfo{ Joj:yf x'g'  kg]{5 .

***********

cg";'rL –@

k|lzIfsx?sf] Gogtd z}lIfs of]Uotf

!=	k|d"vM–	;DjlGwt ljifo;+u ;DalGwt, Joj:yfkg cyjf g]t[Tj k|bfg ug{ ;Sg] JolQmnfO{ lzIf0f ;+:yf k|d'v jgfOg' kg]{ .

@=	kbM– k|lzIfs -ljifo cg';f/_ -clws[t :t/ t[tLo >]0fL k|f=_

Go"gtd z}lIfs of]UotfM dfGotf k|fKt lzIf0f ;+:yfaf6 ;DalGwt ljifodf :gfts jf ;f] ;/x plQ0f{ .

cyjf

dfGotf k|fKt lzIf0f ;+:yfjf6 ;DalGwt ljifodf k|df0f–kqtx jf ;f] ;/x plQ0f{ eO{ ;DalGwt ljifodf ;xfos k|lzIfs kbdf $ aif{sf] cg'ej .

#=	kbM– ;xfos–k|lzIfs -ljifo cg';f/_ -;xfo :t/ k|yd >]0fL k|f=_

Go"gtd z}lIfs of]UotfM dfGotf k|fKt lzIf0f ;+:yfaf6 ;DalGwt ljifodf k|df0f–kq tx jf ;f] ;/x plQ0f{ .

$=	kbM– k|lzIf0f–;xfos -ljifo cg';f/_ -;xfo :t/ l¢tLo >]0fL k|f=_

Go"gtd z}lIfs of]UotfM k|fljlws P;=Pn=;L= jf ;DalGwt ljifodf dfGotf k|fKt ;+:yfaf6 h'gLo/ 6]lSg;Log txsf] tfnLd k|fKt .

cg';"lr – !

kf7\ok':ts tyf ;Gbe{ ;fdfu|Lx?

- Automotive mechanics by willam ho course, Donald L. Auglin

- Automotive mechanics by S.Srinivasan, Tata megrow hill

- Automotice mechanics by Joseph heitner

- CTEVT jf6 k|sflzt c+u|]hL, ul0ft, lj1fg / g]kfnLsf kf7\ok':tsx?

- CTEVT af6 k|sflzt ljifot kf7\ok':tsx?