###### MINIMUM REQUIREMENTS

###### FOR

###### Diploma in mechatronics Engineering

###### Programme

###### Council for Technical Education and Vocational Training

###### Polytechnic Division

###### Sanothimi, Bhaktapur

###### NEPAL

###### 2022

| 1=1 ejgM 1= ejg tyf k"jf{wf/x? |  |  | sf&df*f} pkTosf leq Go'gtd 5 /f]kgL tyf b]zsf cGo :yfgsf] xsdf 10 /f]kgL hUufdf jg]sf] ef}lts k"jf{wf/ ;lxtsf] sIffsf]&f, clkm;, Nofj, k¦of]uzfnf / k':tsfno nufot ;a} ;'ljwfsf nflu ;'/lIft ejg x'g' kg]{% . jx'tn] -w]/} tNnf ePsf]_ ejg ePdf yk sfo{qmdsf] nflu hUUff yk gePklg ;~rfng ug{ ;lsg] % . a(Ldf 48 hgf k¦lzIfly{x? /fvL z}$flGts sIff ;~rfng ug'{kg]{ % . |
| --- | --- | --- | --- |
| 1=2 sIff sf]&fM |  |  | k¦lt ljBfyL{ 0=75 ju{ ld^/sf] b/n] 3 jif]{ sfo{qmdsf] nflu -k¦yd, låtLo / t[tLo jif{_ 3 j^f sIff sf]&f x'g' kg]{% . sIff sf]&fdf k¦lzIfs / ljBfyL{sf] nflu cfjZos ^]an, *]S; tyf s'rL{sf] Joj:yf x"g"kg]{% . |
| 1=3 k¦of]uzfnf÷js{;kM |  |  | ;fdfGo lj!fgsf] nflu cfjZos k¦of]ufzfnfx? -Physics, Chemistry, Computer, Drawing, Mechanical and Electrical Workshop) tyf Pp^f eGbf a(L sfo{qmd ;+rfng ePsf ;+:yfx?df cGo sfo{qmdsf] nflu ;d]t k¦of]uzfnfx? ;+o'Qm x'g]%g\ . ;+:yfn] kf&\oqmdn] tf]s] cg';f/ k¦of]uzfnfx?sf] k¦of]u ug'{ kg]{% / ;Dk")f{ ljBfyL{x?nfO{ k¦of]ufTds cEof; u/fpg] ;'lglZrt ;do tfnLsf x'g' kg]{% . Chemistry Nofjdf cfjZos Tap, Sink, Basin ;lxt Water Supply sf] Joj:yf x"g" kg]{% . |
| 1=4 ljifout k¦of]uzfnf |  |  | kf&\oqmdn] tf]s] cg';f/sf] %'^\^f %'^\^} ljifout k¦of]uzfnfx? x'g' kg]{% . k¦of]uzfnfsf] If]qkmn k¦lt ljBfyL{ sDtLdf 1 ju{ ld^/ x"g" kg]{% . sfo{qmd ;~rfngsf] nflu tfnLsf g+ 1 df pNn]v eP jdf]lhdsf k¦of]uzfnfx? x'g"kg]{% . |
| 1=5 nfOa¦]/L sIfM |  |  | sfo{qmdsf] nflu sDtLdf 40 ju{ ld^/ If]qkmnsf] k':tsfno sIf x"g" kg]{% . Pp^f eGbf a(L sfo{qmd ;~rfng x'g] ;+:yfdf k¦To]s yk sfo{qmdsf] nflu 15 ju{ ld^/ If]qkmn x'g' kg]{% . k':tsfnodf kf&\oqmddf pNn]v eP adf]lhdsf k¦To]s ljifosf] nflu ljBfyL{ ;+Vofsf] sDtLdf 50 k¦ltzt kf&\ok':ts x'g' kg]{% . k¦To]s ljifosf] sDtLdf 5 j^f Reference Books / Od]n OG^/g]^sf] ;'ljwf ljBfyL{x?sf] ;xh kx'+r x'g] u/L Joj:yfkg ug'{ kg]{% . |
| 1=6 k¦lzIfs sIfM |  |  | k¦lzIfsx?sf] nflu cWoog / k¦lzIf)f tof/Lsf] nflu k¦lt k¦lzIfs sDtLdf 2=0 ju{ ld^/ If]qkmn ;lxt j:g] Joj:yf x"g"kg]{% . |
| 1=7 k¦frfo{ / ljefluo k¦d'v sIfM |  |  | ;+:yfdf k¦frfo{ / ljefluo k¦d"vsf] nflu %'^\^} sfo{ sIfsf] Joj:yf x'g' kg]{% . |
| 1=8 k¦zf;g sIfM |  |  | ;+:yfdf n]vf÷k¦zf;g sIf %'^\^} x"g" kg]{% . |
| 1=9 ;f]wk'% sIfM |  |  | ljBfyL{, cleefjs / cGo laBfyL, cleefjs tyf ;/f]sf/jfnfx?nfO{ k/fdz{;]jf lbg %'^\^} ;f]wk'% sIf x"g" kg]{% . |
| 1=10 zf}rfno |  |  | k¦lzIffyL{sf] nflu dlxnf / k'?if %'^\^f %'^\^} x"g] u/L 1M20 sf b/n] / k¦lzIfs, sd{rf/Lsf nflu 1M10 sf b/n] zf}rfnosf] Joj:yf x'g' kg]{% . |
| 1=11 vfg]kfgL |  |  | vfg]kfgLsf] nflu Water Filter /Euro Guard or Equivalent Water Purifier sf] Joj:yf x'g' kg]{% jf z"$ lkpg] kfgLsf] Joj:yf x"g" kg]{% . |
| 1=12 rd]gf u[x |  |  | ;+:yfdf sDtLdf 20 hgfn] Ps} k^s k¦of]u ug{ ;Sg] &fp+ -Dining Room_ ePsf] rd]gfu[x x"g" kg]{% . |
| 1=13 v]ns'b ;DaGwL |  |  | elnjn, af:s]^jn, Jof*ld)^g / ^]an^]lg; dWo] sDtLdf Pp^f Outdoor / Pp^f Indoor sf]^{sf] Joj:yf x"g" kg]{% . |
| 1=14 k¦fylds pkrf/ sIf |  |  | ;+:yfdf tTsfn Pj+ cfktsfnLg :jf:Yo ;]jfsf nflu rflxg] cf}iflwx?;xLtsf] pkrf/ sIf x'g'kg]{ % . dlxnf %fqfx?sf] nflu dlxgfjf/Lsf] ;dodf cfjZos ;]g]^/L Kof*sf] Joj:yfkg ug]{ :yfgsf] Joj:yf x"g'{kg]{ % . |
| 2= j]j;fO^ M |  |  | ;:yfn] ;'rgf tyf hfgsf/L k¦bfg ug{ cflwsf/Ls j]j;fO^sf] Joj:yf ug'{kg]{% . |
| tfnLsf g+= 1 ;}$flGts sIffdf 48 hgf / k¦of]ufTds cEof;df nflu 24 hgf Ifdtfsf k¦yd jif{sf] nflu tk;Ln jdf]lhdsf :yfgx?sf] Joj:yf x"g"kg]{% . qm=;=; ljj/)f; ljBfyL{ Ifdtf -hgf_; sf]&fsf] Go'gtd If]qkmn -j=dL=_; s}lkmot. ;}$flGts sIff sf]&f; 48 hgf; 36=00. ef}lts zf:q k¦of]uzfnf; 24 hgf; 24=00. /;fog zf:q k¦of]uzfnf; 24 hgf; 24=00. sDKo'^/ Nofj; 24 hgf; 24=00. *«Oª\ js{;k; 24 hgf; 36=00. d]sflgsn P)* On]lS^«sn js{;k; 24 hgf; 24=00. ;fdfg e)*f/)f sf]&f; -; 15=00. |
| 3=k¦of]ufTds cEof;sf] nflu cfjZos k'jf{wf/ / ;"ljwf ;DaGwLM |  |  |  |
| #=! |  | sn]h xftfleq /x]sf k¦of]uzfnf / js{;k jfx]s kf&\oqmdn] tf]s] jdf]lhd ug"{ kg]{ k¦of]ufTds cEof; Pj+ lkmN* lelh^sf] nflu kof{Kt !fg / l;k cfh{g ug{ ;Sg] cj;/ k¦fKt x"g] lgsfox?nfO{ k¦fyldStf lbO{ sfo{ut tflndsf] Joj:yf ldnfpbf pTkfbg sDkgLx? / sfo{qmd;+u ;DjlGwt lgsfox?-g]kfn ^]lnsd, ljw"t k¦flws/)f cflb_ ;+u ;Demf}tf÷;xdlt x"g"kg]{% . s= sn]h xftfleq /x]sf k¦of]uzfnf / js{;kdf kf&\oqmdn] tf]s] jdf]lhd ug"{ kg]{ k¦of]ufTds cEof; ug{ ;Dej gePdf ;f] sfo{ ug{sf]nflu pNn]lvt ;fdfu¦L ePsf] ;+:yfx?;+u ;Demf}tf ;xdlt x"g"kg]{% . v= ljBfyL{sf] Project Work sf] nflUf Engine lathe, drilling machine, basic pneumatic system, basic electronic system k¦of]uftds cEof;sf] nflu Branded computer nufPtsf ;fdfu¦L ePsf] 24 j=dL If]qkmnsf]] %"^\^} sfo{zfnfsf] Joj:yf] x"g"kg]{% . v= kf&\oqmdn] tf]s]sf] field visit / Industrial Attachment sf] nflu sn]hn] pko{'Qm ;+:yfx?;+u ;Demf}tf] x"g"k¦g]{% . |  |
| $=k¦frfo{ / k¦lzIfs ;DalGw Aoj:yf M |  |  |  |
| s= | ;+:yfdf k¦frfo{÷pkk¦frfo{÷ljefuLo k¦d'vx? k')f{sflng (Full Time) x"g"kg]{ % . |  |  |
| v= | k¦yd jif{ ;+sfotkm{sf] k¦lzIfsx?sf] Go"gtd z}lIfs of]Uotf :gftsf]Q/ x'g'kg]{ / k¦fljlws ljifo tkm{ Go"gtd :gfts plt)f{ 4 hgf k')f{sflng (Full Time) k¦lzIfsx? x'g'kg]{ % . |  |  |
| u= | k¦frfo{ sf] z}lIfs of]Uotf ;DjlGwt ljifodf :gftsf]Q/ jf :gfts kl% 5 jif{sf] sfo{ cg'ej / ljefuLo k¦d'vsf] z}lIfs of]Uotf ;DjlGwt ljifodf :gftsf]Q/ jf :gfts kl% 3 jif{sf] sfo{ cg'ej x'g'kg]{ % . |  |  |
| 3= | k¦of]ufTds cEof;sf] nflu slDtdf Ps hgf Diploma in Engineering u/]sf] ;xfos k¦lzIfs x"g"kg]{% . |  |  |
| ª | k¦fljlws k¦lzIfsx?n] ;DjlGwt Joj;flos kl/ifb\df clgjfo{ btf{ ePsf] x'g"kg]{ % . |  |  |

% k|of]ufTds sIff ;+rfng ubf{ cfjZos kg]{ ;/;fdfgx?sf] kof{Kt Joj:yf x"g]u/L k|lzIffyL{sf] ;d'x agfpg" kb{% . o;/L ;d'x agfp+bf a(Ldf 24 hgf k|lzIffyL{x?sf] ;d'x agfO{ Ps ;fgf] pk ;d'xdf a(Ldf % hgf ;d]t /fVg ;lsG% . h;sf] nflu *«O{é / sDKo'^/ k|of]uzfnfdf slDtdf 24 ;]^ pks/)f / cGo k|of]uzfnfx?df slDtdf 6 ;]^ ;fdfgx? pknAw u/fpg" kg]{% .

^= ;+rfns ;ldltsf] u7g

;+rfns ;ldltdf slDtdf 5 hgf ;b:o x"g clgjfo{ % . ;+rfns ;ldltsf ;b:ox? dWo] slDtdf 40 k|ltzt ;b:ox? ;DaGwLt ljifosf] x"g" kg]{% . pNn]lvt 5 hgf jfx]s ;+rfns ;ldltdf kl/ifb\ sfof{njf^af^ dgf]lgt Ps hgf k|ltlglw :j?k ;b:o /xg]% . cGo sfo{qmdx? ;+rfngsf] /x]sf] cj:yfdf ;f]xL ;+rfns ;ldlt sfod x"g]%.

&= aLdfsf] Joj:yfM

;+:yfdf sfo{/t k|lzIfs, sd{rf/L, ljBfyL{x?sf] jLdfsf] Joj:yf x"g"kg]{ .

*= ;"/Iffsf] Joj:yfM

k|of]uzfnfdf k|of]ufTds cEof; ubf{ cfjZos kg]{ ;"/Iffsf ;fdfgx?sf] Joj:yf x"g"kg]{ .

pbfx/)fsf] nflu Fire Hazards – Fire Extiquisher, Helmet, Goggles, Gloves, Masks, Eye washing facilities etc.

9= z}lIfs ;fdfu|Lx? tyf pks/)fx? (Tools and Equipments) sf] Joj:yf

- TOOLS/EQUIPMENT LIST FOR PHYSICS

(Mechanics)

| S. N. | Tools/Equipment Name | Quantity (Nos.) |
| --- | --- | --- |
|  | Vernier Calipers 6" | 12 |
|  | Vernier Calipers for Demonstration 12" | 1 |
|  | Micrometer Screw Gauge | 12 |
|  | Spherometer | 12 |
|  | Steel Ball 3mm Dia. | 20pc |
|  | Steel Ball 2mm Dia. | 20pc |
|  | Brass Spheres with Hook Dia. 13mm 20mm | 5 |
|  | Lead Spheres with Hook Dia. 10-20 mm,13mm, 20mm | 5 |
|  | Stop Watch | 5 |
|  | Meter Scale (1m long wooden) | 10 |
|  | Thread (for simple pendulum) | 1roll |
|  | Watch Glass (60,80,100 mm Dia) | 6 pc |
|  | Friction Board & incline Plane | 4 |
|  | Friction Kit | 2 |
|  | Slotted Iron Weights & Hanger (0.5 Kg each) | 1 set |
|  | Slotted Iron Weights & Hanger (100 gram each) | 1 set |
|  | Standard Weight Box Fractional (1mg -500 grams) | 1 box |
|  | Traveling Microscope | 3 |
|  | Beakers Set (500,250,100 ml) | 6 |
|  | Corks Borer Set (Set 5-19 mm Dia range) | 1 |
|  | Corks (Dia 6 Bottom 10 mm Top, 10/13, 13/16) | 1 set |
|  | Capillary Tube (0.5 -0.75 mm & Dia ) | 2 each |
|  | Digital Balance | 2 |
|  | Sinker | 2 |
|  | Measuring Cylinder | 4 |
|  | Spcific Gravity Bottle (50 cc) | 5 |
|  | Aneroid Barometer | 2 |
|  | Tuning Fork (set) | 2 |
|  | Rubber Pad | 3 |
|  | Resonance Apparatus | 3 |
|  | Cubes for Density Investigation | 2 sets |
|  | Retort Stand (315x 200mm & Rod) | 8 |
|  | Large Triple Box for the above | 8 |
|  | Clamp | 8 |
|  | Apparatus Clamp (Set) | 8 |
|  | Mercury | as needed |

(Heat)

| S. N. | Tools/Equipment Name | Quantity |
| --- | --- | --- |
|  | Thermometers (1/10,-10 to 110 Deg C) | 15 |
|  | Thermometers (1/20,-10 to 50 Deg C) | 10 |
|  | Maximum Minimum Thermometer | 2 |
|  | Hypsometer | 5 |
|  | Calorimeter (Cooper, 75 X 50mm) | 8 |
|  | Outer Vessel for Calorimeter, Stirrer & Lid Set (for Cooper Calorimeter of size 75 X 50 mm | 8 |
|  | Calorimeter (Aluminum) | 5 |
|  | Steam Boiler | 5 |
|  | Hygrometer | 2 |
|  | Hygrometer (Wet Dry Bulb) | 2 |
|  | Hot Plate | 2 |
|  | Test Tubes (All size 72 sets) | 2 |
|  | Boiling Test Tubes | 2 |
|  | Test Tube Holder | 10 |
|  | Test Tube Stand | 5 |
|  | Filter Paper (Size 90 & 150, box of 200) | 5 |
|  | Wax Paraffin (kg) | 1 |
|  | Refrigerator (Ice Cube Maker) | 1 |

(Optics)

| S. N. | Tools/Equipment Name | Quantity |
| --- | --- | --- |
|  | Plane Mirror Glass Mounted | 10 |
|  | Cylindrical Concave Mirror Glass | 8 |
|  | Cylindrical Concave Mirror Stainless Steel | 8 |
|  | Concave Mirror | 10 |
|  | Lens Double Convex | 10 |
|  | Plano Convex Lens | 10 |
|  | Lens Holder | 5 |
|  | Prism | 6 |
|  | Glass Cube | 3 |
|  | White Screen | 2 |
|  | Compact light Source | 3 |
|  | Ray Optics Box | 8 |
|  | Optical Bench 1.5 Meters | 3 |
|  | Light Meter | 1 |
|  | Lycopodium powder | 2 pack |
|  | Adjustable (in height) pin (for expt in concave mirror |  |

(Magnetism)

| S. N. | Tools/Equipment Name | Quantity |
| --- | --- | --- |
|  | Rectangular Section Magnets | 6 |
|  | Horse Shoe Magnet | 2 |
|  | Magenetizing and Demagnetizing Coil | 1 |
|  | Vibration Magnetometer Box | 2 |
|  | Deflection Magnetometer | 3 |
|  | Magnetic Needle | 10 |
|  | Plotting Compass | 6 |
|  | Dip Circle with Needle | 2 |

- Current/Electricity

| S. N. | Tools/Equipment Name | Quantity |
| --- | --- | --- |
|  | Ammeter HA, MA | 3 |
|  | Voltmeter | 3 |
|  | Galvanometer | 2 |
|  | Potentiometer | 4 |
|  | Lamp Low Voltage Lamp (LED) | 8 |
|  | Contractor & Relay | 8 |
|  | Plug Switch | 5 |
|  | Connecting Wires (each) | 20 |
|  | Crocodile clip | 20 |
|  | Rheostat | 5 |
|  | Resistance Coil | 2 |
|  | Low DC Voltage Power Supply | 5 |
|  | Battery Charger | 2 |
|  | Inductor & Capacitor | 1 |
|  | Different types of wire | 1 |

(Equipment list for Chemistry)

| S. N. | Tools/Equipment Name | Quantity |
| --- | --- | --- |
|  | Beaker 100 ml, 250 ml, 500 ml Set | 48 |
|  | Glass Funnel 25mm, 75 mm, 95 mm Set | 48 |
|  | Porcelain Basin 75 mm Dia. | 48 |
|  | Tripod Stand Triangular (155 X 120 mm) | 48 |
|  | Wire Gauge 140 X 140 mm | 100 |
|  | Water Bath (12 holes) 420 mm | 2 |
|  | Fuel Stand (Wood 450 mm) | 48 |
|  | Test Tube Stand Plastic 250 mm | 24 |
|  | Test Tubes 20 ml | 500 |
|  | Hot Box Oven Size 1 (0- 500 Deg C) | 2 |
|  | Glass rod 4 mm Dia | 10 kg |
|  | Test Tube 10 ml | 500 |
|  | Conical, Round Flask 250 ml | 30 |
|  | Glass Retort 250 ml | 50 |
|  | Watch Glass 70 mm Dia | 50 |
|  | Burner (gas) 130 mm | 25 |
|  | Water Trough 230 mm Dia | 25 |
|  | Iron Stand with Clamp 600 mm | 25 |
|  | Pipette 10 ml | 20 |
|  | Pipette 20 ml | 50 |
|  | Burette 50 ml | 50 |
|  | Volumetric Flask 250 ml | 25 |
|  | Volumetric Flask 100 ml | 105 |
|  | Volumetric Flask 500 ml | 7 |
|  | Volumetric Flask 1000 ml | 4 |
|  | Weighing Table with cap 10 ml | 25 |
|  | Measuring Cylinder 10 ml | 50 |
|  | Measuring Cylinder 20 ml | 30 |
|  | Measuring Cylinder 100 ml | 10 |
|  | Measuring Cylinder 500 ml | 5 |
|  | Measuring Cylinder 1000 ml | 5 |
|  | Measuring Cylinder 5000 ml | 2 |
|  | Eudiometer Tube 50 ml | 50 |
|  | Watch Glass 20 mm Dia | 50 |
|  | Reagent Bottle (glass) 250 ml | 100 |
|  | Reagent Bottle (glass) 500 ml | 50 |
|  | Reagent Bottle (glass) 1000 ml | 50 |
|  | Small Reagent Bottle (Plastic) 100 ml | 100 |
|  | Dessicator 200 mm Dia | 2 |
|  | Graduated Pipette 10 ml | 25 |
|  | Barometer (General Lab) | 1 |
|  | Kipp's Apparatus (Borosil) | 1 |
|  | Distillation Unit | 1 |
|  | Digital Balance (range 0.001 gm ) Max 2 | 2 |
|  | Digital Balance (range 0.0001 gm ) Max 1 | 2 |
|  | Gas Cylinder (L.P.G. for Practical) 14 | 5 |
|  | Gas Regulator 300 mm w/c | 5 |
|  | Gas Pipe 10 mm (meters) | 3 |
|  | Plastic Wash Bottles | 48 |
|  | Nicklechromed Tounge | 48 |
|  | Small Traingular File | 48 |
|  | Woulf's Bottle | 24 |
|  | Thermometer 100 Deg. C | 10 |
|  | Wire gauge | 25 |
|  | Cork Borers different sizes | 6 |
|  | Gas jars | 24 |
|  | Thermometer 300 Deg. C | 2 |
|  | Washing Brush 240 mm | 25 |
|  | Circular Filter Paper 110 mm Dia | 50 |
|  | Asbestoes Sheet 150 X 150 mm | 25 |
|  | Stainles Sheet Spatula 145 mm | 25 |
|  | Glass Tube 7 mm Dia | 50 |
|  | Thistle funnel (for gas pre) set | 25 |
|  | Short stem funnel (for eg. wt) set | 25 |
|  | Glass tubes, 5mm, 6mm, 8 mm Dia | 50 each |
|  | Rubber Groves | 24 pcs |
|  | Test tube holder | 50 pcs |
|  | Lead a cetate | 500gms |
|  | Tall Jar | 8 pcd |
|  | Cork pressing instruments | 1 set |

(Plumbing Workshop – I )

| S. N. | Tools/Equipment Name | Quantity |
| --- | --- | --- |
|  | Hand Grinding Machine | 1 |
|  | Bend drilling Machine | 1 |
|  | Electric drill Portable | 1 |
|  | Vernier Calipers | 6 |
|  | Combination Square set | 6 |
|  | Outside Calipers | 6 |
|  | Flat Square | 6 |
|  | Steel measuring tape | 6 |
|  | Wire and sheet gauge | 4 |
|  | Wing Divider | 6 |
|  | Divider | 6 |
|  | Plumbers Plumb line | 6 |
|  | Portable folding pipe vice | 1 |
|  | Chain pipe vice | 6 |
|  | Hack saw frame with blade | 12 |
|  | Tradesman ladder | 1 |
|  | First Aid Kit | 3 |
|  | Fire Extinguisher ABC type 2.5 kg | 3 |
|  | Fire bucket | 3 |
|  | Pipe cutter | 3 |
|  | Adjustable basin wrench | 3 |
|  | Spanner set | 4 |
|  | Pipe Reamer | 4 |
|  | Tap Resealing Tools | 6 |
|  | Rawlplug Tool set | 4 |
|  | Twist Drill set | 4 |
|  | River Punch | 6 |
|  | Hollow punch | 6 |
|  | Taps and Dies set | 2 |
|  | Pipe yarning and caulking tools | 2 |
|  | Link pipe cutter (chain cutter) | 3 |
|  | Flexible steel drain cleaner | 2 |
|  | Clamp joint runner set | 3 |
|  | Ladle | 4 |
|  | Melting Pot | 4 |
|  | Compass saw | 4 |
|  | Tenon saw | 4 |
|  | Rip saw | 4 |
|  | Pipe clamp (soldering vice) | 3 |
|  | Painter's Brush | 10 |
|  | Meter saw | 4 |
|  | Hot plate (electric) | 4 |
|  | Teflon | 12 |
|  | Thermochrome | 1 doze |
|  | Flat file | 6 |
|  | Round file | 6 |
|  | Half round file | 6 |
|  | Rasp file | 6 |
|  | Meter box | 2 |
|  | Thermo chalk | 2 |
|  | Teflon toner | 6 |
|  | Hammer cross pin | 6 |
|  | Hammer Ball pin | 6 |
|  | Hammer Ball | 6 |

(Electrical Workshop)

| S. N. | Tools/Equipment Name | Quantity |
| --- | --- | --- |
|  | Hammer | 24 |
|  | Gimlet | 24 |
|  | Hand Drill | 24 |
|  | Portable Electrical Drill | 12 |
|  | Pedestal Drill | 1 |
|  | Bench Drill Press | 1 |
|  | Combination Pliers | 24 |
|  | Steel Rule | 24 |
|  | Line Tester | 24 |
|  | Side Nose Pliers | 24 |
|  | Flat Nose Pliers | 24 |
|  | Round Nose Pliers | 24 |
|  | Cable Knife | 24 |
|  | Wire Stripper | 24 |
|  | Voltmeter | 6 |
|  | Ammeter | 6 |
|  | Analog Multimeter | 6 |
|  | Wattmeter | 6 |
|  | Kilowatt Hour Meter | 6 |
|  | Copper Cable Shoe (4mm2) | 100 |
|  | Copper Cable Shoe (6mm2) | 100 |
|  | Copper Cable Shoe (10mm2) | 100 |
|  | Tool Box | 18 |
|  | Junior Box | 18 |
|  | Junior Hacksaw | 24 |
|  | Earth Resistance Tester | 4 |
|  | Clamp on Ammeter | 6 |
|  | Rewirable Fuse Box Set | 36 |
|  | HRC Fuse Box Set | 36 |
|  | 10 Amp Single Pole MCB | 24 |
|  | 25 A MCCB 25 KA. | 24 |
|  | IHP 3 phase Induction motor (Star/Delta) | 2 set |
|  | Fractional Horse power 1 phase induction motor | 1 set |
|  | PVC Listic | 100 pcs. |
|  | Holder | 50 pcs. |
|  | a) One gang switch | 30 pcs |
|  | b) Two gang switch | 30 pcs |
|  | c) Two way switch | 12 pcs |
| 40. | Power socket | 30 pcs |
| 41. | Dol/ Starter | 6 pcs |
| 42. | Tripple pole MCB | 24pcs |
| 43. | Contractor | 24psc |
| 44. | Auxiliary contractor | 24pcs |
| 45. | Overload Relay | 12pcs |
| 46. | Push button switch | 50pcs |
| 47. | Indicator | 50pcs |
| 48. | Timmer | 12pcs |
| 49. | VFD | 2pcs |
| 50. | Energy Meter | 6pcs |
| 51. | Servo motor | 1pcs |
| 52. | Stepper motor | 1pcs |
| 53. | H-bridge circuit | 1pcs |
| 54. | Chopper Drive | 1pcs |

1.	Manufacturing Workshop

| S.N. | Equipment Name | Quantity (No) |
| --- | --- | --- |
|  | Light duty spot welding machine | 1 portable type |
|  | Bench grinder (Rpm 1420) | 1 |
|  | Radial drilling Machine | 1 |
|  | Pillar type drilling machine | 1 |
|  | Riveting | 1 |
|  | Binding Machine | 1 |
|  | CNC Milling | 2 |
|  | CNC Lathe | 2 |
|  | 3D-printer | 2 |
|  | Industrial Robot | 2 |
|  | robot trainer kit | 2 |

(Welding Workshop)

| S. N. | Tools/Equipment Name | Quantity |
| --- | --- | --- |
| 1. | Arc Welding set | 4 set |
|  | Suitable for repair and maintenance work |  |
|  | Variable amperage control |  |
|  | Output current range: Approx 40 -180 A |  |
|  | Supplied with electrode earth leads |  |
|  | Supplied with following accessories |  |
|  | Welders heavy duty split leather gauntlets large size |  |
|  | Welders scratch brush made from brased steel wire |  |
|  | Welders hammer with hardened and tempered head with steel spring impact resistant handle |  |
|  | Injection moulded polypropylene flip action welding helmet made to BS679 (or equivalent) |  |
|  | Electrodes: 5 each of following diameters: 1.6 mm, 2.0 mm, 2.5mm, 3.2 mm, 4.0 mm; |  |
|  | Supplied with operation and service manuals; |  |
|  | Supply voltage: 220 V, 50 HZ. |  |
| 2. | Gas welding and cutting set | 4 set |
|  | Acetylene gas cylinder: Capicity approx. 40 litre filling pressure 1.5 Kpa test pressure 6 mpa, clearly mark "acetylene" |  |
|  | Oxygen gas cylinder: capacity 40 litre, nominal filling pressure 1.5 mpa. Test pressure 22.5 kpa, clearly marked "oxygen" Blackish colour |  |
|  | Complete with: |  |
|  | Welding cutting torch set - high pressure injector type for welding 0.5 to 30 mm thick mild steel and cutting thickness up to 100mm spark lighter; |  |
|  | Welding cutting torch set - high pressure injector type for welding 0.5 to 30 mm thick mild steel and cutting thickness up to 100mm spark lighter; |  |
|  | Gas welding goggles; |  |
|  | 5 finger gauntlet glove; |  |
|  | With operation and service manuals |  |

(Bar Bending)

| S. N. | Tools/Equipment Name | Quantity (Nos.) |
| --- | --- | --- |
|  | Hack saw frame with blade | 24 |
|  | Hammer Claw (5kg) | 12 |
|  | Crow bar | 12 |

- Computer Laboratory

| S. N. | Description (Detailed Technical Specification) | Quantity |
| --- | --- | --- |
|  | Compatible Personal Computer with E-mail/Internet Facilities | 24 set |

Tools and Apparatus required for the practical of following subjects:

(2nd Year)

Basic electrical engineering

| S.N | Tools/Equipment Name | Quantity |
| --- | --- | --- |
|  | Wattmeter | 12 |
|  | AC bulb 150w/50w | 12 |
|  | Resistor bank | 4 |
|  | Capacitor bank | 4 |
|  | Inductor bank | 4 |
|  | Luxmeter | 4 |
|  | Voltmeter AC (0-220V) | 12 |
|  | Voltmeter AC (0-220V) | 12 |
|  | Ammeter AC (0-1, 0-10A) | 12 |
|  | Ammeter DC (0-500 mA, 0-100 mA, 0-1 A) | 12 |
|  | Multimeter (Digital) | 12 |
|  | Power supply (0-30V) 2A | 12 |
|  | Auto transformer (0-250) 500 VA | 12 |
|  | AC power supply (0-50V) 1A | 12 |

Workshop Practice II

| S.N | Tools/Equipment Name | Quantity |
| --- | --- | --- |
|  | Hardness testing machine | 1 |
|  | Impact testing machine | 1 |
|  | Universal testing machine | 1 |
|  | Fatigue testing machine | 1 |
|  | Ultrasonic testing machine | 1 |
|  | Pipe bending machine | 1 |
|  | Tap and Die | 4set |
|  | Flaring block and kit | 4 set |
|  | Swaging tool | 4 |
|  | Arc welding machine and accessories | 6 |
|  | Gas (Acetylene-oxygen) welding machine and accessories | 6 |
|  | Tig and Mig welding and Accessories | 1/1 |

Fluid Mechanics

| S. N. | Tools/Equipment Name | Quantity (No) |
| --- | --- | --- |
|  | Center of pressure with 450 gm. Weights | 2 set |
|  | Flume 10 cmx50cmx3m | 2 set |
|  | Orifice meter | 2 set |
|  | Venturimeter | 2 set |
|  | Hydraulic benches volumetric type | 2 set |
|  | Different types of weirs for flume experiments |  |
| 6.1 | Broad crested weirs | 2nos |
| 6.2 | Sharp crested weirs | 2nos |
| 6.3 | V-notches | 2nos |
| 6.4 | Rectangular notches | 2nos |
|  | Stop watch | 6 pieces |
|  | Vernire caliper | 2 nos |
|  | Metal scale | 10 nos |
|  | orifices |  |
| 10.1 | 5 mm dia | 2 piece |
| 10.2 | 8 mm dia | 2 piece |
| 10.3 | 10mm dia | 2 piece |
|  | Spare parts for ventuimenter apparatus, peizometer tubes | 10 pieces |
|  | Head loss measurement set for pipe fitting | 1 Set |

Electronic Fundamentals

| S.N | Tools/Equipment Name | Quantity |
| --- | --- | --- |
|  | Resistor(through hole and smd) | 1 packet |
|  | Diode | 1 packet |
|  | Zener | 1 packet |
|  | Capacitor | 1packets |
|  | Transistor(NPN and PNP) | 1packets |
|  | Mosfet(N channel and p channel) | 1 packets |
|  | Multimeter | 12 |
|  | Oscilloscope | 2 |
|  | Voltage regulator ic 78xx and LM317 | 12/12pcs |
|  | Bread board | 12 |
|  | DC power supply | 4 |
|  | Transformer (12-0-12)/500ma | 12 |

Mechanical and Electronics Measurement

| S.N | Tools/Equipment Name | Quantity |
| --- | --- | --- |
|  | Oscilloscope | 2 |
|  | Slip gauges | 2 |
|  | Zener Diode | 1 packet |
|  | Capacitor | 1packets |
|  | Transistor(NPN and PNP) | 1packets |
|  | Mosfet(N channel and p channel) | 1 packets |
|  | Multimeter | 12 |
|  | Oscilloscope | 2 |
|  | Voltage regulator ic 78xx and LM317 | 12/12pcs |
|  | Bread board | 12 |
|  | DC power supply | 4 |
|  | Transformer (12-0-12)/500ma | 12 |

Strength of Materials

| S. N. | Tools/Equipment Name | Quantity (No) |
| --- | --- | --- |
| 1. | Coplanar forces equilibrium testing (board linkage, pulley set | 1 set |
| 2. | Moment verification equipment set | 1 set |
| 3. | Equipment to determine the moment of inertia of fly wheel | 1 set |
| 4. | Bending moment & shear force observation equipment set | 1 set |
| 5. | Universal Testing Machine (min 30 KN)* | 1 set |
| 6. | Universal frame with different models for Truss | 1 set |
| 7. | Torsion testing equipment (torque 150 Nm) | 1 set |

*Universal Testing Machine can be hired and/or rented.

Digital Electronics

| S.N | Tools/Equipment Name | Quantity (No) |
| --- | --- | --- |
|  | Operational amplifier kit | 4 |
|  | 555 timer square wave generator kit | 4 |
|  | R-2R DAC kit | 4 |
|  | SCR/TRIAC kit | 4 |
|  | RC oscillator kit | 4 |
|  | LC oscillator kit | 4 |
|  | Op-amp instrumentation amplifier kit | 4 |
|  | switched voltage regulator kit | 4 |
|  | Solar panel | 2 |
|  | Optocoupler | 4 |
|  | PLC trainer kit | 6 |
|  | Electric Circuit Trainer | 4 |
|  | Digital IC Trainer with Flip-Flop | 4 |
|  | Frequency counter | 4 |
|  | Rectifier Trainer(with Filter) | 2 |
|  | Variable DC Supply | 4 |
|  | Function Generator | 4 |
|  | DC Chopper | 4 |
|  | SCR Characteristics Apparatus | 4 |

Fundamentals of Hydraulics and Pneumatics

| S. N. | Tools/Equipment Name | Quantity (No) |
| --- | --- | --- |
| 1 | Pneumatic Trainer kit | 1 |
| 2 | Hydraulic Trainer Kit | 1 |

Fluid and Thermal Engineering

| S. N. | Tools/Equipment Name | Quantity (No) |
| --- | --- | --- |
|  | Manometer(simple) | 1 |
|  | Bernoulli’s Apparatus | 1 |
|  | Rectangular notch Apparatus | 1 |
|  | Pressure gauge | 1 |

Tools and Apparatus required for the practical of following subjects:

(3rd Year)

## Microprocessors

| S.N. | Equipment Name | Quantity (No) |
| --- | --- | --- |
| 1. | 8085 Microprocessor kit | 8 |
| 2. | 8051 microcontroller kit | 4 |
| 3. | Arduino kit | 4 |
| 4. | PIC (16/18) kit | 4 |

## Instrumentation and Control System

| S.N. | Equipment Name | Quantity (No) |
| --- | --- | --- |
| 1. | PID simulator kit | 8 |
| 2. | Strain Gauge Trainer Kit | 4 |
| 3. | Kit for Switching Characteristics of Transistor and OP-Amp | 4 |
| 4. | LVDT Lab Trainer Kit | 4 |
| 5. | Control System Trainer kit | 4 |
| 6. | DC Servo motor kit | 8 |
| 7. | Piezoelectric Transducer Trainer Kit | 4 |
| 8. | AC Servo Motor and Drive Kit | 4 |
| 9. | Capacitive Transducer Trainer Kit | 4 |
| 10. | Resistive Transducer Trainer Kit | 4 |

